## Sheet
test_case | demand_accuracy | voltage | angle | current | freq(Hz) | wire_type | demand_method | interval | update_rate | demand_trigger | std_p_sys_1st | demand_p_sys_1st | std_q_sys_1st | demand_q_sys_1st | std_s_sys_1st | demand_s_sys_1st | std_ia_sys_1st | demand_ia_sys_1st | std_ib_sys_1st | demand_ib_sys_1st | std_ic_sys_1st | demand_ic_sys_1st | std_in_sys_1st | demand_in_sys_1st | is_pass_1st | std_p_sys_2nd | demand_p_sys_2nd | std_q_sys_2nd | demand_q_sys_2nd | std_s_sys_2nd | demand_s_sys_2nd | std_ia_sys_2nd | demand_ia_sys_2nd | std_ib_sys_2nd | demand_ib_sys_2nd | std_ic_sys_2nd | demand_ic_sys_2nd | std_in_sys_2nd | demand_in_sys_2nd | is_pass_2nd | std_p_sys_3rd | demand_p_sys_3rd | std_q_sys_3rd | demand_q_sys_3rd | std_s_sys_3rd | demand_s_sys_3rd | std_ia_sys_3rd | demand_ia_sys_3rd | std_ib_sys_3rd | demand_ib_sys_3rd | std_ic_sys_3rd | demand_ic_sys_3rd | std_in_sys_3rd | demand_in_sys_3rd | is_pass_3rd
AcuRev1320_case1 | 0.01 | 200 | 0 | 2 | 50 | 3 | 0 | 5 | 15 | 0 | 0.8 | 0.79999 | 0 | -9.545e-05 | 0.8 | 0.79999 | 2 | 2 | 2 | 0 | 2 | 1.9999 | 0 | 0 | FALSE | 0.5 | 0.49803 | 0 | 4.2814e-05 | 0.5 | 0.49803 | 1.5 | 1.4977 | 1.5 | 0 | 1.5 | 1.4963 | 0 | 0 | FALSE